## 2kw
S No | Description | Spec |  | Qty
A | Solar PV Module | 540 | Wp | 4 | Nos
B | Module Mounting structures | .
1 | 2*2 Table | N Side 9ft |  | 1 | set
C | Inverter | 2 | kW | 1 | Nos
D | AC / DC Distribution Box | 2 | kW | 1 | Nos
E | DC accessories
1 | MC4 Connectors |  |  | 4 | Set
2 | DC Cables - Red |  |  | 45 | mtrs
3 | DC Cables - Black |  |  | 45 | mtrs
F | AC Cables
1 | Flexible Copper Cable | 4Core 4SQMM |  | 10 | mtrs
G | Earthing
1 | Aluminum Cable | 10 sqmm 1 core |  | 70 | mtrs
3 | Earth copper rod with Chemical Bag | 17.2sqmm x 1mtr |  | 2 | Nos
4 | Earth Chamber with cover |  |  | 2 | Nos
H | Accessories
1 | 1" PVC Pipe 3 mtr |  |  | 15 | nos
2 | 1" PVC bend white |  |  | 15 | nos
3 | 1" PVC bend T Joint |  |  | 8 | nos
4 | 1"Elbow |  |  | 10 | nos
5 | 1'' nail with washer |  |  | 60 | nos
9 | 1.5'' coach screw |  |  | 15 | pck
10 | Wooden plug Small |  |  | 10 | pacts
11 | S |  |  | 0.5 | Pacts
12 | 1" U clamp (water clamp) |  |  | 35 | nos
13 | 1" Screw with plat washer & nut |  |  | 40 | nos
20 | 6mm ss bolt nut & washer set | 6*20 |  | 18 | set
21 | 4sqmm Copper Lug round type |  |  | 8 | nos
22 | 6 sqmm Copper Lug pin type |  |  | 8 | nos
23 | 10sqmm Aluminum Lug round type |  |  | 18 | nos
24 | 1'' flexable hose |  |  | 2 | mtrs
25 | Insulation Tape RED |  |  | 1 | nos
26 | Insulation Tape GREEN |  |  | 1 | nos
27 | Insulation Tape YELLOW |  |  | 0 | nos
28 | Insulation Tape BLUE |  |  | 0 | nos
29 | Insulation Tape BLACK |  |  | 0 | nos
I | RCC 4 stone
1 | Jalli |  |  | 25 | plate
2 | Cement |  |  | 2 | bag
3 | sand |  |  | 25 | Plate
4 | Paint Bucket 20lts |  |  | 4 | nos

## 3kw
S No | Description | Spec |  | Qty
A | Solar PV Module | 540 | Wp | 6 | Nos
B | Module Mounting structures | .
1 | 1*3 Table |  |  | 2 | set
C | Inverter | 3 | kW | 1 | Nos
D | AC / DC Distribution Box | 3 | kW | 1 | Nos
E | DC accessories
1 | MC4 Connectors |  |  | 4 | Set
2 | DC Cables - Red |  |  | 45 | mtrs
3 | DC Cables - Black |  |  | 45 | mtrs
F | AC Cables
1 | Flexible Copper Cable | 4Core 4SQMM |  | 10 | mtrs
G | Earthing
1 | Aluminum Cable | 10 sqmm 1 core |  | 70 | mtrs
3 | Earth copper rod with Chemical Bag | 17.2sqmm x 1mtr |  | 2 | Nos
4 | Earth Chamber with cover |  |  | 2 | Nos
H | Accessories
1 | 1" PVC Pipe 3 mtr |  |  | 15 | nos
2 | 1" PVC bend white |  |  | 15 | nos
3 | 1" PVC bend T Joint |  |  | 8 | nos
4 | 1"Elbow |  |  | 10 | nos
5 | 1'' nail with washer |  |  | 60 | nos
9 | 1.5'' coach screw |  |  | 15 | pck
10 | Wooden plug Small |  |  | 10 | pacts
11 | Cable Tie 350mm |  |  | 0.5 | Pacts
12 | 1" U clamp (water clamp) |  |  | 35 | nos
13 | 1" Screw with plat washer & nut |  |  | 40 | nos
20 | 6mm ss bolt nut & washer set | 6*20 |  | 18 | set
21 | 4sqmm Copper Lug round type |  |  | 8 | nos
22 | 6 sqmm Copper Lug pin type |  |  | 8 | nos
23 | 10sqmm Aluminum Lug round type |  |  | 18 | nos
24 | 1'' flexable hose |  |  | 2 | mtrs
25 | Insulation Tape RED |  |  | 1 | nos
26 | Insulation Tape GREEN |  |  | 1 | nos
27 | Insulation Tape YELLOW |  |  | 0 | nos
28 | Insulation Tape BLUE |  |  | 0 | nos
29 | Insulation Tape BLACK |  |  | 0 | nos
I | RCC 4 stone
1 | Jalli |  |  | 25 | plate
2 | Cement |  |  | 2 | bag
3 | sand |  |  | 25 | Plate
4 | Paint Bucket 20lts |  |  | 8 | nos

## 5kw
S No | Description | Spec |  | Qty
A | Solar PV Module Novasys | 540 | Wp | 10 | Nos
B | Module Mounting structures
1 | 2*5 Table |  |  | 2 | set
C | Inverter | 5 | kW | 1 | Nos
D | AC / DC Distribution Box | 5 | kW | 2 | Nos
E | DC accessories
1 | MC4 Connectors |  |  | 5 | Set
2 | DC Cables - Red |  |  | 100 | mtrs
3 | DC Cables - Black |  |  | 100 | mtrs
F | AC Cables
1 | Flexible Copper Cable | 4 sq mm 4core |  | 35 | mtrs
G | Earthing
1 | Aluminum Cable | 10 sqmm 1 core |  | 90 | mtrs
3 | Earth copper rod with Chemical Bag | 17.2sqmm x 1mtr |  | 2 | Nos
4 | Earth Chamber with cover |  |  | 2 | Nos
H | Accessories
1 | 1" PVC Pipe 3 mtr |  |  | 20 | nos
2 | 1" PVC bend white |  |  | 20 | nos
3 | 1" PVC bend T Joint |  |  | 10 | nos
4 | 1"Elbow |  |  | 20 | nos
5 | 1'' nail with washer |  |  | 60 | nos
9 | 2'' coach screw |  |  | 25 | nos
10 | Wooden plug Small number 10 |  |  | 8 | pacts
11 | Cable Tie 350mm |  |  | 1 | Pacts
12 | 1" U clamp (water clamp) |  |  | 50 | nos
13 | 1" Screw with plat washer & nut |  |  | 60 | nos
20 | 6 mm ss bolt nut & washer set |  |  | 30 | set
21 | 4sqmm Copper Lug round type |  |  | 12 | nos
22 | 4 sqmm Copper Lug pin type |  |  | 12 | nos
23 | 10sqmm Aluminum Lug round type |  |  | 30 | nos
24 | 1'' flexable hose |  |  | 3 | mtrs
25 | Insulation Tape RED |  |  | 1 | nos
26 | Insulation Tape GREEN |  |  | 1 | nos
27 | Insulation Tape YELLOW |  |  | 1 | nos
28 | Insulation Tape BLUE |  |  | 1 | nos
29 | Insulation Tape BLACK |  |  | 1 | nos
28 | Ferrule (1,2) |  |  |  | each
29 | Ferrule (A,B) |  |  |  | each
30 | PVC trough | 40*40 |  | 2 | Nos
I | RCC 12 leg
1 | Jalli |  |  | 25 | plate
2 | Cement |  |  | 2 | bag
3 | sand |  |  | 25 | Plate

## 10kw
S No | Description | Spec |  | Qty
A | Solar PV Module | 540 | Wp | 19 | Nos
B | Module Mounting structures
1 | 2*5 Table |  |  | 2 | set
C | Inverter | 10 | kW | 1 | Nos
D | AC / DC Distribution Box | 10 | kW | 1 | Nos
E | DC accessories
1 | MC4 Connectors |  |  | 5 | Set
2 | DC Cables - Red |  |  | 60 | mtrs
3 | DC Cables - Black |  |  | 60 | mtrs
F | AC Cables
1 | Flexible Copper Cable | 6sqmm4core |  | 45 | mtrs
G | Earthing
1 | Aluminum Cable | 10 sqmm 1 core |  | 150 | mtrs
3 | Earth copper rod with Chemical Bag | 17.2sqmm x 1mtr |  | 3 | Nos
4 | Earth Chamber with cover |  |  | 3 | Nos
H | Accessories
1 | 1" PVC Pipe 3 mtr |  |  | 40 | nos
2 | 1" PVC bend white |  |  | 30 | nos
3 | 1" PVC bend T Joint |  |  | 20 | nos
4 | 1"Elbow |  |  | 25 | nos
5 | 1'' nail with washer |  |  | 60 | nos
9 | 1.5'' coach screw |  |  | 15 | nos
10 | Wooden plug Small 10 nos |  |  | 4 | pacts
11 | Cable Tie 350mm |  |  | 1 | Pacts
12 | 1" U clamp (water clamp) |  |  | 60 | nos
13 | 1" Screw with plat washer & nut |  |  | 40 | nos
20 | 6 mm ss bolt nut & washer set |  |  | 50 | set
21 | 10 sqmm Copper Lug round type |  |  | 50 | nos
22 | 6 sqmm Copper Lug pin type |  |  | 10 | nos
23 | 6 sqmm Aluminum Lug round type |  |  | 25 | nos
24 | 1'' flexable hose |  |  | 3 | mtrs
25 | Insulation Tape RED |  |  | 1 | nos
26 | Insulation Tape GREEN |  |  | 1 | nos
27 | Insulation Tape YELLOW |  |  |  | nos
28 | Insulation Tape BLUE |  |  |  | nos
29 | Insulation Tape BLACK |  |  | 1 | nos
28 | Ferrule (1,2) |  |  | 1 | each
29 | Ferrule (A,B) |  |  | 1 | each
30 | PVC trough | 40*40 |  | 1 | Nos
31 | Solar generation meter with calibration certificate | 3 phase |  | 1 | Nos
32 | 3 phase meter box |  |  | 0 | Nos
33 | Lightning arrester with base plate |  |  | 1 | Nos
34 | Lightning arrester with pipe | 1 M |  | 1 | nos
35 | Step Clamp- 150mm |  |  | 5 | Nos
36 | Bus bar insluator |  |  | 5 | Nos
I | RCC
1 | Jalli |  |  | 25 | plate
2 | Cement |  |  | 2 | bag
3 | sand |  |  | 25 | Plate

## Sheet5
1 | Panel
Make
Adani -540Wp Monoperc
Adani -540Wp Bifacial- P Type
Adani -555 ,565 Wp Topcon-N Type
2 | Novasys -540Wp Bifacial -P type
3 | Warree -540
4 | Goldi
5 | Saativik
Inverter -Make
1 | Havells-2,3,4,5,6,8,10
2 | Growatt-2,3,5,8,10
3 | Deye
4 | Panasonic
5 | Solis
6 | Polycab
7 | Powerone
8 | V-Sole
9 | Panasonic